SJF Engineering Services			September 29, 2020

Stephen J. Ferreira, P.E.

P.O. Box 1047

New Milford, Connecticut 06776

(860) 350-2499

Todd Atkinson, P.E.

Town of Putnam Valley

265 Oscawana Lake Road
Putnam Valley, New York 10579

Re:  	Correia, Carlos and Laurinda

(Tax ID # 84.-2-48)

Dear Mr. Atkinson,

The following comments have been addressed from your prior reviews:

- The location map scale has been shown on the Plat to be filed has been shown.

- The Site plan has been modified to include the Health Department approving language.

- The Site plan has been modified to include the Real Property tax language.

- The Site plan has been modified to include Commissioner of Finance Language.

- Survey has been updated and the proposed filed map prepared by Insite Engineering/Surveying has been provided for your review.

- All metes and bounds have been corrected on the SJF Engineering Sheet 2.

- The front yard setback has been corrected on the SJF Engineering Sheet 2.

- A development approval plan waiver will be requested for this project.

- A note has been added to the Plan Sheets S-1 and S-2, “ No future development will be considered for this property without bringing the access roadway to Town Specifications and obtaining necessary permits and approvals”.

Please contact me at (914) 804-4209 at your earliest convenience if there are any questions or if any additional information is required.

Sincerely Yours,

# Stephen J. Ferreira